## Slide 1: WFPS – Wireless Fire Protection System
ZONE-3
MQTT - Protocol
HTTP - Protocol
Broker
Server
I-Dev’s
EoN
Sensor/Actuator
Hard Wire
Hard Wire
Serial
EoN
Sensor/Actuator
Hard Wire
Hard Wire
Serial
EoN
Sensor/Actuator
Hard Wire
Hard Wire
Serial
ZONE-1
ZONE-2
Notes: This is another option for an Overview slides using transitions.

## Slide 2: Server - HW
MQTT – Protocol
EoN
HTTP - Protocol
Server
Wemos D1
I-Dev’s

## Slide 3: EoN – Edge of Network c/w Local Panel
Server - Broker
MQTT - Protocol
Sensor/Actuator
Hard Wire
Hard Wire
Serial
ZONE-2
Wemos D1
EoN
Arduino Mega
Lcd Keypad
Notes: This is another option for an Overview slides using transitions.

## Slide 7: LocalPanel
File : aLocalPanel.ino
exp = NO_EXCEPTION;
lifeLed.blink(BLINK_NORMAL);
locPan.menu();
fpSys.execute();
commSer.execute();
LOCAL_OPERATION_EXCEPTION
LOCAL_PARAMETER_EXEPCTION
commSer. sendValue();
fpSys.updateParameter();
locPan.updateParameter();
commSer.sendParameter();
1
Setup Serial, Serial1
Setup lifeLed
Setup locPan
Setup fpSys
Setup commSer
Start
0
Y
Y
N
N
1A

## Slide 8: LocalPanel-cont.
REMOTE_OPERATION_EXCEPTION
REMOTE_PARAMETER_EXCEPTION
fpSys.execute();
fpSys.updateParameter();
locPan.updateParameter();
fpSys.execute();
1
End
File : aLocalPanel.ino
0
Y
Y
N
N
1A

## Slide 9: _fpSys->execute()
(operationMode = MODE_AUTO ) & (sensorStatus != NO_ALARM)
Yes
No
operationMode = MODE_AUTO_ON
File : fpSys.cpp
sensorStatus = _fireSensor->getStatus()
operationMode = _pbAMRT->getCmd(DEBOUNCING_TIME)
this->_logicOperation(operationMode, sensorStatus)
_ledAMR->status(operationMode)
Update parameter(sensor value, alarm, operationMode)
Update exception
return

## Slide 10: _fireSensor->getStatus()
Val > Setting
Yes
No
statusAi = HIGH_ALARM
return (statusAi)
File : src\ioDevices\analogInput.cpp
getValue from sensor
(with AlfaEMA filter)
statusAi = NO_ALARM

## Slide 11: _pbAMRT->getCmd(DEBOUNCING_TIME)
File : src\compDevices\pbAMRT.cpp
_pbTest = active
cmd = MODE_TEST
Yes
No
_pbReset = active
_prevCmd = MODE_RESET
Yes
cmd = MODE_READY
Yes
_prevCmd = MODE_READY
cmd = MODE_READY
Yes
cmd = MODE_RESET
_pbAuto = active
cmd = MODE_AUTO
Y
3
2
getData from P/B with debouncing mechanism

## Slide 12: _pbAMRT->getCmd(DEBOUNCING_TIME)-cont.
_pbManual = active
cmd = MODE_MANUAL_ON
Y
cmd = MODE_MANUAL
_prevCmd = cmd
return (cmd)
2
_prevCmd = MODE_MANUAL
Y
3
cmd = MODE_MANUAL_ON
_prevCmd = MODE_MANUAL_ON
Y
File : src\compDevices\pbAMRT.cpp

## Slide 13: _ledAMR->status(operationMode)
File : src\compDevices\ledAMR.cpp
State = MODE_TEST
Y
State = operationMode
State = MODE_AUTO
State = MODE_AUTO_ON
State = MODE_MANUAL
_ledAuto->on();
_ledManual->on();
_ledReset->on();
_ledAuto->on();
_ledManual->off();
_ledReset->off();
_ledAuto->blink();
_ledManual->off();
_ledReset->off();
_ledAuto->off();
_ledManual->on();
_ledReset->off();
4
Y
Y
Y
4A

## Slide 14: _ledAMR->status(operationMode)-cont.
File : src\compDevices\ledAMR.cpp
State = MODE_RESET
Y
State = MODE_READY
_ledAuto->blink();
_ledManual->blink();
_ledReset->off();
_ledAuto->off();
_ledManual->off();
_ledReset->blink();
State = MODE_MANUAL_ON
_ledAuto->off();
_ledManual->blink();
_ledReset->off();
4
return
4A
Y
Y

## Slide 15: this->_logicOperation(operationMode, sensorStatus)
File : aLocalPanel.ino
State = MODE_TEST
Y
State = MODE_AUTO
State = MODE_MANUAL
sensorStatus = ALARM
5
State = operationMode
_buzzer->on();
_ solenoidValve- >on();
_ solenoidValve- >off();
_ solenoidValve- >off();
5A
Y
Y

## Slide 16: this->_logicOperation(operationMode, sensorStatus)-cont.
State = MODE_READY
Y
State = MODE_RESET
5
State = MODE_MANUAL_ON
_ solenoidValve- >off();
_ solenoidValve- >off();
_ solenoidValve- >on();
return
File : aLocalPanel.ino
5A
Y
Y

## Slide 17: _locPan->menu()
_modeMenu = MODE_MENU_MAIN
File : locPan.cpp
this->_menuMain(key)
this->_menuParameter(key)
_modeMenu = MODE_MENU_PARAMETER
this->_menuChangeParameter(key)
_modeMenu = MODE_CHANGE_PARAMETER
Key = this->_getCommand()
return
Y
Y
Y

## Slide 18: this->_menuMain(key)
_menuIndex = 0
File : locPan.cpp
idx = this->_increaseIndex();
key = UP
key = DOWN
idx = this->_decreaseIndex();
21
this->_sendMenu(idx);
this->_viewMenu(idx);
Start
Y
Y
Y

## Slide 19: this->_menuMain(key)-cont.
File : locPan.cpp
_modeMenu = MODE_MENU_PARAMETER;
this->updateParameter();
this->_initPrevIndex();
this->_paramIndex = PARAMETER_VALUE;
this->menu();
key = RIGHT
21
menuData.isHasParam
menuData = _accessMenu->read(this->_menuIndex);
return
Y
Y

## Slide 20: this->_menuParameter(key)
_paramIndex = PARAMETER_VALUE
File : locPan.cpp
idx = this->_increaseIndex();
key = UP
key = DOWN
idx = this->_decreaseIndex();
22
this->_sendParameter(idx);
this->_viewParameter(idx);
Start
Y
Y
Y

## Slide 21: this->_menuParameter(key) -cont.
File : locPan.cpp
key = LEFT
22
_modeMenu = MODE_MENU_MAIN;
this->_menuIndex = 0;
this->menu();
23
Y

## Slide 22: this->_menuParameter(key)-cont.
File : locPan.cpp
_modeMenu = MODE_CHANGE_PARAMETER;
this->_isParamChanged = true;
this->menu();
key = RIGHT
23
_accessParameter->isChangeAble(this->_paramIndex)
return
Y
Y

## Slide 23: this->_menuChangeParameter(key)
this->_isParamChanged
File : locPan.cpp
idx = this->_increaseParameter(idx);
key = UP
key = DOWN
idx = this->_decreaseParameter(idx);
24
Start
idx = this->_paramIndex;
this->_isParamChanged = true;
this->_isSaved = true;
this->_sendParameter(idx);
this->_viewParameter(idx);
Y
Y
Y

## Slide 24: this->_ menuChangeParameter(key) – cont.
File : locPan.cpp
key = LEFT
24
_modeMenu = MODE_MENU_PARAMETER;
this->_paramIndex = PARAMETER_VALUE;
this->menu();
25
Y

## Slide 25: this->_ menuChangeParameter(key) – cont.
File : locPan.cpp
this->_isSaved = false;
this->_accessParameter->setParam(_dataParam);
_exception = LOCAL_PARAMETER_EXCEPTION;
this->updateParameter();
key = SELECT
25
this->_isSaved
return
_view->viewMessage(0,0,"Parameter saved");
Serial.println("Parameter saved");
Y
N
Y
N

## Slide 26: this->_getCommand()
i < this->cmdInNbr
Y
File : locPan.cpp
rawCmd = NO_KEY;
i = 0
i = I +1;
rawCmd = _cmdInput[i]->getCode();
rawCmd != NO_KEY
Y
Return (rawCmd)
_prevCmd = rawCmd;
N
end
start

## Slide 27: KeyPad::getCode();
File : src\compDevices\keyPad.cpp
key < VALUE_RIGHT
Y
26
key = getValue();
26A
keyPad = NO_KEY;
keyReturn = NO_KEY;
start
keyPad = RIGHT;
key < VALUE_UP
Y
keyPad = UP;
key < VALUE_DOWN
Y
keyPad = DOWN;

## Slide 28: KeyPad::getCode();-cont.
File : src\compDevices\keyPad.cpp
key < VALUE_LEFT
Y
keyPad = LEFT;
key < VALUE_SELECT
Y
keyPad = SELECT;
_prevKey != keyPad
Y
this->_prevMilli = millis();
this->_prevKey = keyPad;
26
26A
27
27A

## Slide 29: KeyPad::getCode();-cont.
File : src\compDevices\keyPad.cpp
27
27A
this->_prevMilli = millis();
this->_prevKey = keyPad;
keyReturn = keyPad;
(millis() - this->_prevMilli) > DEBOUNCE_DELAY)
Return (keyReturn)
end
Y
N

## Slide 30: _commSer->execute()
Serial1.available()
Yes
No
StaticJsonDocument<192> paramJson;
err = deserializeJson(paramJson, Serial1);
File : commSer.cpp
start
Err = OK
obj = paramJson.as<JsonObject>();
(obj["id"] = _accessParameter->getId()
28
28A
Yes
No

## Slide 31: _commSer->execute()-cont.
obj["header"] = DATA_PARAMETER
Yes
No
File : commSer.cpp
return
28
28A
_accessParameter->setParamJson(obj);
_exception = REMOTE_PARAMETER_EXCEPTION;
obj["header"] = DATA_OPERATION
_accessParameter->setOperationJson(obj);
_exception = REMOTE_OPERATION_EXCEPTION;
Yes
Serial.print("deserializeJson() returned ");
Serial.println(err.c_str());
Serial1.read();

## Slide 32: Temperature Control Reactor
Feed
Pump - Circulation
Product
Cooling - Water
Heat Exchanger
Control Valve
TI
TC
Temperature Indicator / Transmitter / Sensor
Temperature Controller
Reactor : Exothermic
(reaksi yang menghasilkan panas)
Catalyst
Catalyst
Catalyst
Catalyst

## Slide 33: Voltage Divider (VD) – Keypad (P/B R-close)
5V
A0
P/B : Right (R)
GND
GND
Internal
Arduino
2K
10K
5V
P/B : Right (R)
GND
2K
A0
Pada saat P/B R ditekan (close), maka nilai tegangan
Yang dikirimkan ke Arduino melaui A0 adalah 0 V.
Namun demikian karena ketidak idealan pada keseluruhan
Rangkaian, maka nilai pada A0 ini tidaklah 0V.

## Slide 34: Voltage Divider (VD) – Keypad (P/B U-close)
5V
A0
P/B : Up (U)
GND
GND
Internal
Arduino
2K
10K
330
Nilai V-A0 akan dikonversikan kedalam nilai digital melalui ADC
(Analog to Digital Conversion 10 bit). Tegangan referensi ADC adalah 5V.
Artinya pada saat V-A0 = 5V, akan dikonversikan ke dalam nilai 2 pangkat 10
(1023). Sehinggai pada nilai V-A0 = 0.689 V, nilai digitalnya adalah :
141 = 1023 x (0.689/5)
R-par = (10000 x 330)/(10000 + 330)
R-par = 319.5 Ohm
Tegangan pada A0 (V-A0) adalah
V-A0 = 5 x (319.5 /(319.5 + 2000))
V-A0 = 0.689 V