## Slide 1
ZONE-3
MQTT - Protocol
HTTP - Protocol
Broker
Server
I-Dev’s
EoN
Sensor/Actuator
Hard Wire
Hard Wire
Serial
EoN
Sensor/Actuator
Hard Wire
Hard Wire
Serial
EoN
Sensor/Actuator
Hard Wire
Hard Wire
Serial
ZONE-1
ZONE-2
WFPS – Wireless Fire Protection System
Notes: This is another option for an Overview slides using transitions.

## Slide 2: Server - HW
MQTT – Protocol
EoN
HTTP - Protocol
Server
Wemos D1
I-Dev’s

## Slide 3
Server - Broker
MQTT - Protocol
Sensor/Actuator
Hard Wire
Hard Wire
Serial
EoN – Edge of Network
ZONE-2
Wemos D1
EoN
Arduino Mega
Lcd Keypad
Notes: This is another option for an Overview slides using transitions.

## Slide 4
Server - Broker
MQTT - Protocol
Sensor/Actuator
Hard Wire
Hard Wire
Serial
EoN – Edge of Network
c/w Local Panel
ZONE-2
Wemos D1
EoN
Arduino Mega
Lcd Keypad
Notes: This is another option for an Overview slides using transitions.

## Slide 5
Flowchart LocalPanel
File : aLocalPanel.ino
exp = NO_EXCEPTION
lifeLed.blink(BLINK_NORMAL)
locPan.menu();
fpSys.execute();
commSer.execute();
LOCAL_OPERATION_EXCEPTION
LOCAL_PARAMETER_EXEPCTION
REMOTE_OPERATION_EXCEPTION
REMOTE_PARAMETER_EXCEPTION
commSer. sendValue();
fpSys.updateParameter();
locPan.updateParameter()
commSer.sendParameter();
fpSys.execute();
fpSys.updateParameter();
locPan.updateParameter();
fpSys.execute();

## Slide 6
(operationMode = MODE_AUTO ) & (sensorStatus != NO_ALARM)
Yes
No
operationMode = MODE_AUTO_ON
Flowchart _fpSys->execute()
File : fpSys.cpp
sensorStatus = _fireSensor->getStatus()
operationMode = _pbAMRT->getCmd(DEBOUNCING_TIME)
this->_logicOperation(operationMode, sensorStatus)
_ledAMR->status(operationMode)
Update parameter(sensor value, alarm, operationMode)
Update exception

## Slide 7
Val > Setting
Yes
No
statusAi = HIGH_ALARM
Flowchart _fireSensor->getStatus()
getValue from sensor
(with AlfaEMA filter)
statusAi = NO_ALARM
return (statusAi)
File : src\ioDevices\analogInput.cpp

## Slide 8
Flowchart _pbAMRT->getCmd(DEBOUNCING_TIME)
File : src\compDevices\pbAMRT.cpp
_pbTest = active
cmd = MODE_TEST
Yes
No
_pbReset = active
_prevCmd = MODE_RESET
Yes
cmd = MODE_READY
Yes
_prevCmd = MODE_READY
cmd = MODE_READY
Yes
cmd = MODE_RESET
_pbAuto = active
cmd = MODE_AUTO
Y
2
1
getData digital with debouncing mechanism

## Slide 9
Flowchart _pbAMRT->getCmd(DEBOUNCING_TIME)
File : src\compDevices\pbAMRT.cpp
_pbManual = active
cmd = MODE_MANUAL_ON
Y
cmd = MODE_MANUAL
_prevCmd = cmd
return (cmd)
1
_prevCmd = MODE_MANUAL
Y
2
cmd = MODE_MANUAL_ON
_prevCmd = MODE_MANUAL_ON
Y

## Slide 10
Flowchart _ledAMR->status(operationMode)
File : src\compDevices\ledAMR.cpp
State = MODE_TEST
_ledAuto->on();
_ledManual->on();
_ledReset->on();
Y
State = operationMode
State = MODE_AUTO
State = MODE_AUTO_ON
State = MODE_MANUAL
_ledAuto->on();
_ledManual->off();
_ledReset->off();
_ledAuto->blink();
_ledManual->off();
_ledReset->off();
_ledAuto->off();
_ledManual->on();
_ledReset->off();
State = MODE_MANUAL_ON
_ledAuto->off();
_ledManual->blink();
_ledReset->off();
State = MODE_RESET
_ledAuto->off();
_ledManual->off();
_ledReset->blink();
State = MODE_READY
_ledAuto->blink();
_ledManual->blink();
_ledReset->off();

## Slide 11
Flowchart this->_logicOperation(operationMode, sensorStatus)
File : aLocalPanel.ino
State = MODE_TEST
_buzzer->on();
Y
State = MODE_AUTO
State = MODE_MANUAL
_solenoidValve->off();
sensorStatus = ALARM
_solenoidValve->on();
_solenoidValve->off();
3
State = operationMode

## Slide 12
Flowchart this->_logicOperation(operationMode, sensorStatus)
File : aLocalPanel.ino
State = MODE_READY
Y
State = MODE_RESET
_solenoidValve->off();
3
_solenoidValve->off();
_solenoidValve->off();
State = MODE_MANUAL_ON
_solenoidValve->on();